## Slide 1
Comparison of optical properties retrieved using actinic flux and irradiance measured in Houston, TX during Discover-AQ
Corr, C.A.1, Lefer, B.2, Flynn, J.2, Anderson, B.E.3, Beyerdorf, A.3, Thornhill, K.L.3, Weinheimer, A.4, and Dibb, J.E..1
1 Earth Systems Research Center, Earth, Ocean, and Space Institute, University of New Hampshire, Durham, NH
2 Department of Earth and Atmospheric Sciences, University of Houston, Houston, TX
3 NASA Langley Research Center, Hampton, VA
4 National Center for Atmospheric Research, Boulder, CO
Introduction
Aerosol scattering and absorption is often incorporated into climate and photochemical models as the aerosol single scattering albedo (SSA), a unitless parameter that describes the contribution of aerosol scattering to aerosol extinction (scattering + absorption). Spectrally-resolved SSAs across the UV and visible ranges have primarily been determined using various radiative transfer retrieval techniques. Many retrievals have relied on the ratio of direct-to-diffuse (DDR) irradiance (e.g., Medina et al., 2012), however recent retrievals have also used actinic flux given it’s high spectral resolution (Barnard et al., 2008, Corr et al., 2012). The few studies that have attempted to retrieve SSA from actinic flux suggest that the values compare well to those estimated by other approaches (Barnard et al., 2008, Corr et al., 2012), but more comparisons are needed to establish the validity of actinic flux retrievals.
AF SSA consistently lower than DDR SSA (Figure 1), primarily due to differences in the sensitivity of actinic flux and the DDR to SSA and AOD.
Best agreement on 09/03/13 when no impact from N-NE industrial pollution sources.
Similar diurnal trends between AF SSA, DDR, and AERONET SSA at 441nm (Figure 2).
Methods
SSAs were retrieved using actinic flux (AF SSA) and the DDR (DDR SSA) for three cloud-free days during Discover-AQ Houston: 09/03/13, 09/25/13, and 09/26/13. SSAs were retrieved via the comparison of actinic flux and DDR modeled using the Tropospheric Ultraviolet model (TUV 5.0) to that measured atop the University of Houston’s North Moody Tower using a Scanning Actinic Flux Spectrometer (SAFS) and two Multi-filter Shadowband Radiometers (MFRSR), respectively. AF and DDR SSAs were compared at four MFRSR wavelengths: 332, 368, 415, and 500 nm). Retrieved values were also compared to SSA reported by the Aerosol Robotic Network (AERONET) at 441 nm and those calculated at 450 and 550nm from nephelometer and particle soot absorption photometer (PSAP) measurements made aboard the NASA P3-B. Absorption angstrom exponents (AAE) calculated from AF (330-560 nm) and DDR SSAs (332, 415, 500 nm only) following Russell et al. (2010) were also compared to each other and to those determined from AERONET and P-3B measurements.
Spectral Relationships
Significant overlap between AF and DDR SSA at visible wavelengths (Figures 3).
DDR SSA higher than AF SSA in UV.
SSA retrieved using only diffuse irradiance improves agreement in UV (Figure 4).
 Possible errors in
modeled irradiance.
AF and DDR SSA are consistently lower than AERONET and aircraft SSA, likely caused by errors in AERONET AOD values due to NO2 used in both retrievals (Krotkov et al., 2005).
Main Conclusions
DDR probably better suited for SSA retrievals in urban regions.
Actinic flux retrievals accurately capture the spectral dependence of aerosol absorption, despite producing low SSA values.
Diurnal variations in urban aerosol SSA can be resolved by both DDR and actinic flux.
Comparisons between SSA and AAEs retrieved using actinic flux and DDR are needed for regions dominated by other aerosol types to fully examine actinic flux retrieval accuracy.
Temporal Relationships
AAE Comparisons
AF AAEs (330-560 nm) agree well with those calculated for AERONET (441-674 nm) and Aircraft PSAP measurements (470-532 nm) (Figure 5).
High variability in DDR AAEs due to erroneously high UV DDR SSA at 332 nm.
Better agreement between DDR AAEs calculated for 415-500 nm and all other AAEs.
Figure 1. Difference between DDR and AF SSA for 09/03/13 (pink), 09/25/13 (blue), and 09/26/13 (green) for 332 (a), 368 (b), 415 (c), and 500 nm (d). Error bars represent the ranges in the difference between DDR and AF SSA for each retrieval time period.
a)
c)
d)
b)
Figure 2. Diurnal SSA retrieved at 415 nm using the DDR (teal, squares) and actinic flux (black, circles) for 09/03/13 (left), 09/25/13 (middle) and 09/26/13 (right). Error bars represent 1s of the retrieved SSA range. AERONET SSA at 441 nm (red, stars) are also shown AERONET SSA error bars represent a ± 0.05 error consistent with error estimates reported for AODs ≤ 0.2 in Dubovik et al. (2000).
Figure 5. Mean AAE values calculated using AF SSA (magenta), DDR SSA (332, 415, and 500 nm) (gold), AERONET SSA (blue) and in-situ aircraft SSA (green) for the three retrieval days. AAE calculated using DDR SSA at 415 and 500 nm only is also shown (orange).
Figure 3. Spectral AF SSA (black, circles) and DDR SSA (teal, squares) for an overlapping retrieval time on 09/03/13 (top), 09/25/13 (middle), and 09/26/13 (bottom). AERONET 441 nm SSA is also shown (red, stars).
Figure 4. As in Figure 3 except SSA retrieved using only diffuse irradiance (teal, squares) is shown.
References
Barnard, J.C., Volkamer, R., and Kassianov, E.I. (2008), Estimation of the mass absorption cross section of the organic carbon of aerosols in the Mexico City Metropolitan Area (MCMA), Atmos. Chem. Phys., 8,1377-1389.
Corr, C.A., S.R. Hall, K. Ullmann, B.E. Anderson, A.J. Beyersdorf, K.L. Thornhill, M.J. Cubison, J.L. Jimenez, A. Wisthaler, and J.E. Dibb, Spectral absorption of biomass burning aerosol determined from retrieved single scattering albedo during ARCTAS, Atmos. Chem. Phys., 12, 10505-10518, 2012.
Dubovik, O., Smirnov, A., Holben, B.N., King, M.D., Kaufman, Y.J., Eck,, T.F. and Slutsker, I., Accuracy assessments of aerosol optical properties retrieved from Aerosol Robotic Network (AERONET) Sun and sky radiance measurements, J. Geophys. Res., 105, 9791-9806, 2000.
Krotkov,N., J. Herman, J., Cede, A., Labow, G., Partitioning between aerosol and NO2 absorption in the UVA, in: Ultraviolet Ground- and Space-based Measurements, Models, and Effects V, edited by Germar Bernhard, James R. Slusser, Jay R. Herman, Wei Gao, Proceedings of SPIE, 5886, Bellingham, WA, 588601, 2005.
Medina, R., Fitzgerald, R. M., and Min, Q., Retrieval of the single scattering albedo in the El Paso-Juarez Airshed using the TUV model and a UV-MFRSR radiometer, Atmos. Environ., 46, 430-440, 2012.
Russell, P.B., Bergstrom, R.W., Shinozuka, Y., Clarke, A.D., DeCarlo, P.F., Jimenez, J.L., Livingston, J.M., Redemann, J., Dubovik, O., Strawa, A., Absorption angstrom exponent in AERONET and related data as an indicator of aerosol composition, Atmos. Chem. Phys, 10, 1155-1169, 2010.