## Slide 1
Negative Control
1 mM ferri/ferrocyanide
VAC = 1 mV rms
VDC = 0.226 V vs. Ag/AgCl
Transition temperature (Tc) affected
  Environmental stimuli
  Hydrophobic surface area
Commonly used in drug delivery
  Translate technology to biosensor field
Conformational change occurs at transition temperature
  Minimize unfavorable interactions between hydrophobic residues and aqueous environment
Step 1
Step 0
Charge Transfer
Mass Transfer
Z’ (Real Impedance)
Z” (Imaginary Impedance)
Stimulus Response Characterization of Surface-Immobilized Elastin-Like-Polymers using Electrochemical Impedance Spectroscopy
Marissa A. Morales1, Eva Rose M. Balog2, Jeffrey M. Halpern1
Contact: mm1452@wildcats.unh.edu or jeffery.halpern@unh.edu
1Chemical Engineering, University of New Hampshire 2Chemistry and Physics, University of New England
ELP-C
ELP-K
Elastin-Like-Polymer [VPGXG]
25 pentapeptide repeats, 13.6 kDa
X = Isoleucine (I)
METHODS
Protein Constructs
Stimulus Response
Surface Functionalization
Hydrophobic Surface Area
ELP-C modified Au electrode 10 minute soak in 0.01 mg/mL ELP-K in UHP
Surface Functionalization
Chart: Step 0: Bare Au Electrode
Chart: Step 1: ELP-C Modified Au Electrode
RESULTS
Chart: Step 3: Post ELP-K in 1.5 M NaCl Soak
Chart: Step 4: Post DMSO Soak
CONCLUSIONS
ACKNOWLEDGMENTS
BACKGROUND
Increasing trend of impedance indicates
  Protein surface functionalization
  Development of protein matrix due to stimulus
FUTURE WORKS
Reproducibility of results
  Optimization of electrochemical impedance spectroscopy settings
Improvement of circuit for data analysis
This author would like to acknowledge NSF EAGEAR (CBET 1638896) and the Graduate School at UNH for funding this work, Halpern’s Surface Enhanced Electrochemical Diagnostic Sensors Lab and Balog Lab.
Poor fit to experimental data
  Inability to quantify trend
Variability within trials
Inverse Phase Transition
Increasing pH, ionic strength, temperature
Soluble Protein
Insoluble Protein Aggregate
Randles Circuit
Charge Transfer Resistance
(Rct)
Nyquist Plot
Alternating Voltage Potential
Redox Couple
Ferri/Ferrocyanide
Elastin-Like-Polymers
Electrochemical Impedance Spectroscopy
Hydrophilic Residues
Impedance is a measure of resistance to flow of electrons
Hydrophobic Residues
Ionic Strength
ELP-C modified Au electrode 10 min soak in 0.01 mg/mL ELP-K in 1.5 M NaCl
Reversibility
ELP-C modified Au electrode 1 hour soak in DMSO
Step 2
Step 3
Step 4
Au Sensor Surface
e-
e-
e-
Au Sensor Surface
e-
e-
e-
e-
e-
Au Sensor Surface
e-
e-
e-
e-
Au Sensor Surface
e-
e-
e-
e-
Au Sensor Surface
e-
e-
e-
e-
Chart: Step 2: Post ELP-K in UHP Soak
Thiol Chemistry
Au electrode ~24 hour soak 0.05 mg/mL ELP-C in 3.5 mM TCEP
C-[VPGIG]25
K-[VPGIG]25
Stimulus Response